## instruction
Color Coding
Unit operator completes these cells.
A third party auditor completes these cells.
Unit operators completes these cells if there are significant changes to the unit and / or monitoring system.
Text in red clarifies whether the unit operator needs to provide information for the table or cell.
Annual Report and Credit Application Form (October, 2010)
This spreadsheet is the form identified in Section 41 of the Emissions Trading Regulation (Alberta Regulation 33 / 2006) and can be used to satisfy Section 55.
If there is a discrepancy between a calculation in this form and the Emissions Trading Regulation, the Emissions Trading Regulation is correct.
Annual Reports
A unit operator submitting an annual report completes "Table 1.1 Approval Holder Information" of "part 1. unit description" and "part 3 data and calculation". If submitting an annual report, the unit operator can at their discretion report significant changes to the configuration of the facility and the monitoring system.
Credit Applications
• The unit operators completes parts 1 to 3.
• The third party auditor completes parts 4 to 5.
• Alberta Environment requires no other documentation regarding this application unless (a) the applicant needs to provide more information to satisfy the criteria of transparency, accuracy, relevance, consistency and completeness, or (b) Alberta Environment's Director requests additional information.
• The 2010 Guide To Applications provides additional information about this form. See: http://www.environment.alberta.ca/apps/etr/Documents.aspx
• Do not PDF this form. If a PDF file is submitted, the unit operator must also submit an Excel file.
• All formulae in the Excel file must work. Do not substitute actual values for formulae.
• The file can be password protected.
• Submit this form to emissiontrading@gov.ab.ca.
• The Third Party Auditor is not required to make a site visit as requirement of the Regulation unless instructed to visit by the Alberta Environment's Director.
• A third party auditor might undertake a site visit to satisfy the requirements of their profession, certification, or chosen audit standard.

## part 1. unit description
Table 1.1 Approval Holder Information
1.1.1. Environmental Protection and Enhancement Act approval holder's name
1.1.2. Environmental Protection and Enhancement Act approval number
1.1.3. Facility name
1.1.4. Unit number
1.1.5. Date of submission
1.1.6.a. Name of approval holder's contact regarding the baseline application
1.1.6.b. Contact's phone number
1.1.6.c. Contact's email
1.1.7. Name of approval holder's employee approving the baseline applications for submission
1.1.8. Position of approval holder's employee approving the baseline application for submission
Table 1.2 Unit's Start Data and Continuous Emissions Monitoring System's Start Data. Only complete for credits applied under section 36, 37 and 38. Do not complete for baseline credits under section 34.
1.2.1. Date of unit's commissioning
1.2.2. Date of notice to Director regarding certification of the continuous emissions monitoring system.
1.2.3. Date emissions first reported to Alberta Environment
Table 1.3 Unit's Maximum Continuous Rating. Only complete if there is a change since the baseline application.
1.3.1. Fuel type (greater than 50% by heat value - gas or coal)
1.3.2. Other fuels (less than 50% by heat value)
1.3.3. Maximum continuous rating for coal-fired steam turbine or gas turbine (MW).
1.3.4. Natural gas turbine manufacturer and model (not needed for steam turbines).
1.3.5. Maximum continuous rating for steam turbine (MW) |  | For cogeneration and combined cycle units only.
1.3.6. Other units at facility
Cogeneration Unit Operators Only
1.3.7. Maximum output of steam generator (GJ/h)
1.3.8. Thermal medium (usually steam/water however some units use another heat transfer fluid)
Table 1.4 Cogeneration Facility's Host (Cogeneration Units Only). Only complete if there is a change since the baseline application.
1.4.1. Facility Name
1.4.2. Environmental Protection and Enhancement Act Approval Holder
1.4.3. Environmental Protection and Enhancement Act Approval Number
Table 1.5 Emission Intensity For Year of Credit Application
1.5.1. Nitrogen Oxides (kg / MWh) | 0 | Automatically calculated from Part 3
1.5.2. Sulphur Dioxides (kg / MWh) | 0 | Automatically calculated from Part 3
Table 1.6 Approved Baseline
1.6.1. Nitrogen Oxides (kg / MWh) |  | From Emission Trading Regulation.
1.6.2. Sulphur Dioxides (kg / MWh) |  | From Emission Trading Regulation.

## part 1.a baseline credits
Table 1.a.1. Baseline Credit Applications
Is this an application for baseline credits according to Section 34 of the Emissions Trading Regulation |  |  | Yes / No | If No, ignore the rest of this worksheet
Table 1.a.3. Baseline Credits (Section 34)
Substance | NOx | SO2
Year | 0 | 0
Net Electricity Generation | 0 | 0
Baseline Intensity (approved) | 0 | 0
Annual Intensity | 0 | 0
Credits Requested | 0 | 0
Table 1.a.4 Changes To Abatement Equipment Or Operations Leading To Reduced Emissions Intensities
Describe new emission abatement equipment or changes to operations that led to a reduction in the unit's emission intensity.
Table 1.a.2. Credit Request Assertion
The unit operator in Table 1.1 asserts the credits identified in Table 1.a.3. are eligible credits according to Alberta's Emissions Trading Regulation (AR 33 / 2006) and associated documents.

## part 1.b non-baseline credits
Table 1.b.1. Baseline Credit Applications
Is this an application for baseline credits according to Section 36, 37 or 38 of the Emissions Trading Regulation | [5 empty] | Yes / No | If "No", ignore the rest of this worksheet
Is this an application for credits for early decommissioning (Section 36) | [5 empty] | Yes / No | If "No", please blank out tables 1.b.4. and 1.b.5.
Is this an application for credits for decommissioning at end of life (Section 37) | [5 empty] | Yes / No | If "No", please blank out tables 1.b.6. and 1.b.7.
Is this an application for credits for retrofitting within 3 years of end of life (Section 38) | [5 empty] | Yes / No | If "No", please blank out tables 1.b.8. and 1.b.9.
Table 1.b.3. Base Data NOx |  |  |  |  | Table 1.b.4. Base Data SO2
Baseline |  |  | 0 |  | Baseline |  | 0
Emission Standard For a New Unit |  |  |  |  | Emission Standard For a New Unit
Baseline For A New Unit |  |  |  |  | Baseline For A New Unit
Last Year Of Operation |  |  |  |  | Last Year Of Operation
End Of Life |  |  |  |  | End Of Life
Table 1.b.4. Regulation Section 36: |  |  |  |  | Table 1.b.5. Regulation Section 36:
NOx Credits For Early Decommissioning |  |  |  |  | SO2 Credits For Early Decommissioning
Baseline (kg/MWh) |  |  | 0 |  | Baseline For A New Unit (kg/MWh) |  | 0
Emission Standard For A New Unit (kg/MWh) |  |  | 0 |  | Emission Standard For A New Unit (kg/MWh) |  | 0
Baseline For A New Unit (kg/MWh) |  |  | 0 |  | Baseline For A New Unit (kg/MWh) |  | 0
Average of Best 3 of 5 Years (MWh) |  |  | 0 |  | Average of Best 3 of 5 Years (MWh) |  | 0
Last Year of Operation (Year) |  |  | 0 |  | Last Year of Operation (Year) |  | 0
Year of End of Life (Year) |  |  | 0 |  | Year of End of Life (Year) |  | 0
Annual Credits (tonnes) |  |  | 0 |  | Annual Credits (tonnes) |  | 0
Total Credits (tonnes) |  |  | 0 |  | Total Credits (tonnes) |  | 0
Table 1.b.6. Regulation Section 37: |  |  |  |  | Table 1.b.7. Regulation Section 37:
NOx Credits For Decommissioning |  |  |  |  | SO2 Credits For Decommissioning
at End of Design Life |  |  |  |  | at End of Design Life
Emission Standard For A New Unit (kg/MWh) |  |  | 0 |  | Emission Standard For A New Unit (kg/MWh) |  | 0
Average of Best 3 of 5 Years (MWh) |  |  | 0 |  | Average of Best 3 of 5 Years (MWh) |  | 0
Annual Credits (tonnes) |  |  | 0 |  | Annual Credits (tonnes) |  | 0
Total Credits (tonnes) |  |  | 0 |  | Total Credits (tonnes) |  | 0
Table 1.b.8. Regulation Section 38: |  |  |  |  | Table 1.b.9. Regulation Section 38:
NOx Credits For Retrofitting |  |  |  |  | SO2 Credits For Retrofitting
Within 3 Years Of End Of Life |  |  |  |  | Within 3 Years Of End Of Life
Emission Standard For A New Unit (kg/MWh) |  |  | 0 |  | Emission Standard For A New Unit (kg/MWh) |  | 0
Average of Best 3 of 5 Years (MWh) |  |  | 0 |  | Average of Best 3 of 5 Years (MWh) |  | 0
Annual Credits (tonnes) |  |  | 0 |  | Annual Credits (tonnes) |  | 0
Total Credits (tonnes) |  |  | 0 |  | Total Credits (tonnes) |  | 0
1.b.10. Five Year Electricity Generation
| Last Year of Operation Less Four Years | Last Year of Operation Less Three Years | Last Year of Operation Less Two Years | Last Year of Operation Less One Year | Last Year of Operation
Year
January
February
March
April
May
June
July
August
September
October
November
December
Total | 0 | 0 | 0 | 0 | 0
1.b.11. Three Maximum
Generation Years
Year | Total Generation
Average | 0
Table 1.b.2. Credit Request Assertion
The unit operator in Table 1.1 asserts the credits identified in Table 1.b.3. to 1.b.9. are eligible credits according to Alberta's Emissions Trading Regulation (AR 33 / 2006) and associated documents.

## part 2 calculation method
Table 2.1 NOx or SO2 Emission Abatement Equipment - Complete only if applying for credits.
Location of Equipment |  |  |  | Original Emissions Control Equipment or Processes |  |  | New Emissions Control Equipment Or Processes | Date Commissioned (dd/mm/year)
2.1.1. Coal Boiler
2.1.2. Gas Turbine
2.1.3. Heat Recovery Steam Generation Unit
2.1.4. Stack
2.1.5. Other
Table 2.2 Emission Monitoring (add a row if there are two different analyzers for SO2 and NOx) - Complete only if significant changes to system.
Analyzer Manufacturer / Model |  | Meter Identifier* | Calibration Certificate Available on Request? | Comments
* Use the same meter identifier to label diagrams and data.
Table 2.3 Electricity Monitoring - Complete only if significant changes to system.
Meter | Meter Manufacturer / Model |  | Meter Identifier* | Calibration Certificate Available on Request? | Comments
Net Meter to Grid
Net Meter to Host
Other Meters
* Use the same meter identifier to label diagrams and data.
Table 2.4 Thermal Generation Metering - Complete only if significant changes to system.
Only cogeneration unit operators complete this form. Include only flows crossing the boundary of the cogeneration unit . Do not report internal flows.
Meter Name | Meter Manufacturer / Model |  | Meter Identifier* | Calibration Certificate Available on Request? | Flow (high, medium or low pressure steam; condensate) | To Host / From Host | Comment
* Use the same meter identifier to label diagrams and data.
Table 2.5 Emission Intensity Calculation - Complete only if applying for credits. | [6 empty] | Comments
2.5.1. Is emissions data adjusted for missing Continuous Emissions Monitoring System (CEMS) data? | [5 empty] | Yes / No
2.5.1.a. Missing Data Fill Option A: Divide monthly emissions by availability calculated as defined in CEMS Code. | [5 empty] | Yes / No
2.5.1.b. Missing Data Fill Option B: Divide monthly emissions by availability as in Code however include calibration periods as offline periods. | [5 empty] | Yes / No
2.5.1.c. Missing Data Fill Option C: Use a missing data fill method previously approved by the Director. | [5 empty] | Yes / No
2.5.1.d Missing Data Fill Option D: Other. | [5 empty] | Yes / No | Please provide details in Part 3 and Part 3a.
2.5.2. Predictive emissions monitoring system (for example fuel use and emission factors based on stack tests). | [5 empty] | Yes / No | Provide sufficient detail in Part 3 and Part 3a to understand calculation and use of emission factors.
2.5.3. Is this a cogeneration unit? | [5 empty] | Yes / No
2.5.3.a. Thermal Generation Option A: Is thermal generation is calculated as in the Cogeneration Guide (2008)? | [5 empty] | Yes / No / na*
2.5.3.b. Thermal Generation Option B: Is thermal generation is calculated by an alternative method. | [5 empty] | Yes / No / na* | Provide sufficient detail in Part 3 to understand calculation.
2.5.4. Does this unit share a common stack with another unit? | [5 empty] | Yes / No | Emissions must be prorated according to Section 35 of the Regulation. Contact emissiontrading@gov.ab.ca for approval of an alternative method.
2.5.5. If a gas turbine, does the unit share a steam turbine with another gas unit? | [5 empty] | Yes / No | Provide sufficient detail in Part 3 to understand calculation.
2.5.6. Can this unit's station services be uniquely identified? | [5 empty] | Yes / No | If no, provide sufficient detail in Part 3 to understand calculation.
2.5.7. Is the intensity-calculation methodology consistent with intensity-calculation methodology of other units at the facility? | [5 empty] | Yes / No /na*
2.5.8. If this is a cogeneration unit, is the calculation of net thermal energy the same as for the Specified Gas Emitter Regulation? | [5 empty] | Yes / No /na*
2.5.9. Are there open investigations or compliance actions regarding this unit's continuous emissions monitoring system? | [5 empty] | Yes / No
* na - not applicable
Table 2.6 Changes To Monitoring System and Plant Configuration Since Baseline Application
Please describe changes made since the submission of the baseline application to the monitoring system or configuration of the unit that impact the calculation of the emission intensity.
If there are changes (for example, additional thermal flows) to the facility configuration please provide a new diagram.

## part 2 example
Table 2.1 NOx or SO2 Emission Abatement Equipment - Complete only if applying for credits.
Location of Equipment |  |  |  | Original Emissions Control Equipment |  |  | New Emissions Control Equipment Or Processes |  |  |  | Date Commissioned (dd/mm/year)
2.1.1. Coal Boiler |  |  |  | not applicable |  |  | not applicable
2.1.2. Gas Turbine |  |  |  | dry low NOx |  |  | none
2.1.3. Heat Recovery Steam Generation Unit |  |  |  | none |  |  | none
2.1.4. Stack |  |  |  | none |  |  | selective catalytic reduction - xyz manufacturer ammonia scrubber |  |  |  | 23/07/2011
2.1.5. Other |  |  |  | none |  |  | none
Table 2.2 Emission Monitoring (add a row if there are two different analyzers for SO2 and NOx) - Complete only if significant changes to system.
Analyzer Manufacturer / Model |  | Meter Identifier* | Calibration Certificate Available on Request? | Comments
no changes
* Use the same meter identifier to label diagrams and data.
Table 2.3 Electricity Monitoring - Complete only if significant changes to system.
Meter | Meter Manufacturer / Model |  | Meter Identifier* | Calibration Certificate Available on Request? | Comments
Net Meter to Grid | no changes
Net Meter to Host
Other Meters
* Use the same meter identifier to label diagrams and data.
Table 2.4 Thermal Generation Metering - Complete only if significant changes to system.
Only cogeneration unit operators complete this form. Include only flows crossing the boundary of the cogeneration unit . Do not report internal flows.
Meter Name | Meter Manufacturer / Model |  | Meter Identifier* | Calibration Certificate Available on Request? | Flow (high, medium or low pressure steam; condensate) | To Host / From Host
no changes
* Use the same meter identifier to label diagrams and data.
Table 2.5 Emission Intensity Calculation - Complete only if significant changes to system. | [6 empty] | Comments
2.5.1. Is emissions data adjusted for missing Continuous Emissions Monitoring System (CEMS) data? | [5 empty] | Yes
2.5.1.a. Missing Data Fill Option A: Divide monthly emissions by availability calculated as defined in CEMS Code. | [5 empty] | Yes
2.5.1.b. Missing Data Fill Option B: Divide monthly emissions by availability as in Code however include calibration periods as offline periods. | [5 empty] | No
2.5.1.c. Missing Data Fill Option C: Use a missing data fill method previously approved by the Director. | [5 empty] | No
2.5.1.d Missing Data Fill Option D: Other. | [5 empty] | No | Please provide details in Part 3 and Part 3a.
2.5.2. Predictive emissions monitoring system (for example fuel use and emission factors based on stack tests). | [5 empty] | No | Provide sufficient detail in Part 3 and Part 3a to understand calculation and use of emission factors.
2.5.3. Is this a cogeneration unit? | [5 empty] | Yes
2.5.3.a. Thermal Generation Option A: Thermal generation is calculated as in the Cogeneration Guide (2008)? | [5 empty] | Yes
2.5.3.b. Thermal Generation Option B: Thermal generation is calculated by an alternative method. | [5 empty] | No | Provide sufficient detail in Part 3 to understand calculation.
2.5.4. Does this unit share a common stack with another unit? | [5 empty] | No | Emissions must be prorated according to Section 35 of the Regulation. Contact emissiontrading@gov.ab.ca for approval of an alternative method.
2.5.5. If a gas turbine, does the unit share a steam turbine with another gas unit? | [5 empty] | No | Provide sufficient detail in Part 3 to understand calculation.
2.5.6. Can this unit's station services be uniquely identified? | [5 empty] | Yes | If no, provide sufficient detail in Part 3 to understand calculation.
2.5.7. Is the intensity-calculation methodology consistent with intensity-calculation methodology of other units at the facility? | [5 empty] | Yes
2.5.8. If this is a cogeneration unit, is the calculation of net thermal energy the same as for the Specified Gas Emitter Regulation? | [5 empty] | Yes
2.5.9. Are there open investigations or compliance actions regarding this unit's continuous emissions monitoring system? | [5 empty] | No
* na - not applicable
[5 empty] | NOx Emissions (meter M1) | 6 | tonnes
[8 empty] | HP BFW Input (meter M4) | 25 | GWh
| 100 | GWh
(meter M2)
[7 empty] | HP Steam Output (meter M5) | 125 | GWh
[7 empty] | Net Thermal Energy Output | 100 | GWh
[7 empty] | Net Energy Output | 200
[7 empty] | NOx Baseline Emissions Rate | 0.03 | kg/MWh
Table 2.6 Changes To Monitoring System and Plant Configuration Since Baseline Application
Please describe changes made since the submission of the baseline application to the monitoring system or configuration of the unit that impact the calculation of the emission intensity.
If there are changes (for example, additional thermal flows) to the facility configuration please provide a new diagram.
Table 2.6 Changes To Monitoring System and Plant Configuration Since Baseline Application
One change to the plant configuration. A xyz manufacture ammonia scrubber was installed and commissioned on July 23, 2011. Ammonia scrubber worked without incident as of that date.
No other modifications made to the facility.
Heat Recovery
Steam Generator
Gas
Turbine
Host Facility
Cogeneration unit's boundary
new: xyz manufacturer ammonia scrubber
scrubber

## part 3 data and calculation
Table 3.1 Monitoring Period
Start |  |  |  | End
Year | Month | Day | Hour | Month | Day | Hour
|  |  |  | December | 31 | 24
Table 3.2 Annual Emission Intensity
| NOX | SO2
Intensity (kg/MWh) | 0 | 0
Table 3.3 Summary Data
| Net electricity generation to grid and host (MWh) | Net thermal energy (MWh) | Adjusted Oxides of Nitrogen Emissions (kg) | Adjusted Sulphur Dioxide Emissions (kg)
January | 0 | -0.13889 | 0 | 0
February | 0 | 0 | 0 | 0
March | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0
May | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0
July | 0 | 0 | 0 | 0
August | 0 | 0 | 0 | 0
September | 0 | 0 | 0 | 0
October | 0 | 0 | 0 | 0
November | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0
Total | 0 | -0.13889 | 0 | 0
Table 3.4 Electricity Generation Data (Internal Meters) |  |  |  |  | Table 3.5 Electricity Generation Data (Boundary Meters)
| Generation for < gas turbine label> (MWh) | Generation for <steam turbine label> (MWh) | Station services (MWh) |  |  | Net electricity to host (MWh) | Net electricity to grid (MWh) | Total electricity to end users (MWh)
Meter ID |  |  |  |  | Meter ID
January | 0 | 0 | 0 |  | January | 0 | 0 | 0
February | 0 | 0 | 0 |  | February | 0 | 0 | 0
March | 0 | 0 | 0 |  | March | 0 | 0 | 0
April | 0 | 0 | 0 |  | April | 0 | 0 | 0
May | 0 | 0 | 0 |  | May | 0 | 0 | 0
June | 0 | 0 | 0 |  | June | 0 | 0 | 0
July | 0 | 0 | 0 |  | July | 0 | 0 | 0
August | 0 | 0 | 0 |  | August | 0 | 0 | 0
September | 0 | 0 | 0 |  | September | 0 | 0 | 0
October | 0 | 0 | 0 |  | October | 0 | 0 | 0
November | 0 | 0 | 0 |  | November | 0 | 0 | 0
December | 0 | 0 | 0 |  | December | 0 | 0 | 0
Total | 0 | 0 | 0 |  | Total | 0 | 0 | 0
Table 3.6 Emissions Data
| Oxides of Nitrogen Emissions (kg) As Reported By CEMS* | Availability | Adjusted Oxides of Nitrogen Emissions (kg) | Sulphur Dioxide Emissions (kg) As Reported By CEMS* | Availability | Adjusted Sulphur Dioxide Emissions (kg)
Meter ID
January | 0 | 100% | 0 | 0 | 100% | 0
February | 0 | 100% | 0 | 0 | 100% | 0
March | 0 | 100% | 0 | 0 | 100% | 0
April | 0 | 100% | 0 | 0 | 100% | 0
May | 0 | 100% | 0 | 0 | 100% | 0
June | 0 | 100% | 0 | 0 | 100% | 0
July | 0 | 100% | 0 | 0 | 100% | 0
August | 0 | 100% | 0 | 0 | 100% | 0
September | 0 | 100% | 0 | 0 | 100% | 0
October | 0 | 100% | 0 | 0 | 100% | 0
November | 0 | 100% | 0 | 0 | 100% | 0
December | 0 | 100% | 0 | 0 | 100% | 0
Total | 0 |  | 0 | 0 |  | 0
* Unadjusted means the emissions are not adjusted for periods when the analyzer is offline and the unit is operating.
Table 3.7 Thermal Flows
A. Modify the spreadsheet to accommodate data for addition thermal flows crossing the boundary of the cogeneration unit.
B. Some unit operators provide hourly data in order to use hourly-average enthalpies rather than a monthly-average enthalpies. A supplemental worksheet can be added.
| Net Thermal (MWh) | High Pressure Steam To Host (tonnes) | High Pressure Steam To Host (kJ/kg) | High Pressure Steam To Host (GJ) | High Pressure Steam To Host (MWh) | Medium Pressure Steam To Host (tonnes) | Medium Pressure Steam To Host (kJ/kg) | Medium Pressure Steam To Host (GJ) | Medium Pressure Steam To Host (MWh) | Low Pressure Steam To Host (tonnes) | Low Pressure Steam To Host (kJ/kg) | Low Pressure Steam To Host (GJ) | Low Pressure Steam To Host (MWh) | Condensate To Host (negative, tonnes) | Condensate To Host (kJ/kg) | Condensate To Host (GJ) | Condensate To Host (MWh)
Meter ID
January | -0.13889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 500 | -0.5 | -0.13889
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | -0.13889 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | -1 |  | -0.5 | -0.13889
INSTRUCTION
Missing data must be addressed according to the Continuous Emissions Monitoring Code (1998 as amended from time to time) or by a Director approved method. In absence of either the unit operator must propose a method and implement that method in Table 3.6. As structured, Table 3.6 proposes - in absence of a previously prescribed method - that the monthly CEMS availability as calculated for compliance with the Continuous Emissions Monitoring Code be divided into the actually recorded emissions. Your method should be explained in 2.5.1. of this form.

## part 3a comments
Part 3a Comment
If necessary, provide clarification of calculations in Part 3 if there were changes to the calculation since the baseline application.

## part 4 auditor
Table 4.1 Auditor's Information
4.1.1. Name of auditing firm
4.1.2. Name of lead auditor
4.1.3. Location of lead auditor
4.1.4. Phone number of lead auditor
4.1.5. Lead auditor's professional designation
4.1.6. Lead auditor's Alberta Professional Engineers, Geologists, and Geophysicists of Alberta or Chartered Accountant member number
4.1.7. Auditing firm's file number for this project
Table 4.2 Independence and Records
4.2.1. Third party auditor satisfies Section 53(2) of the Emissions Trading Regulation. | yes / no
4.2.2. The firm undertaking the audit has a record retention schedule for the this verification and the supporting documentation. | yes / no | Briefly elaborate here.
Table 4.3 Emissions Monitoring Experience
The lead auditor or a team member has: |  | Comments
4.3.1. Read Alberta's Continuous Emissions Monitoring Code (1998). | yes / no
4.3.2. Developed or reviewed a facility's documents associated the Code (1998). | yes / no | Briefly elaborate here.
4.3.3. Been involved with the monitoring of criteria air contaminants from another perspective. | yes / no | Briefly elaborate here.
4.3.4. A relevant certification. | yes / no | Please name.
4.3.5. Other relevant "technical knowledge" of emissions. | yes / no | Briefly elaborate here.
Table 4.4 Electricity Measurement Experience
The lead auditor or a team member has: |  | Comments
4.4.1. Read Canada's Electricity and Gas Inspection Act and / or the AESO's standards for electricity metering or associated documents. | yes / no | Briefly elaborate here.
4.4.2. Developed or reviewed a facility's documents associated the above Electricity and Gas Inspection Act or AESO's documents. | yes / no | Briefly elaborate here.
4.4.3. Other relevant "technical knowledge" of electricity measurement. | yes / no | Briefly elaborate here.
4.4.4. A relevant certification. | yes / no | Please name.
Table 4.5 Audit Experience
The lead auditor or a team member has: |  | Comments
4.5.1. Read and or had training related to an audit standard from ISO or CICA or another organization. | yes / no | Briefly elaborate here.
4.5.2. Undertaken audits using any of the above audit standards. | yes / no | Briefly elaborate here.
4.5.3. A relevant certification. | yes / no | Please name.
4.5.4. Other relevant "technical knowledge" of audit practices. | yes / no | Briefly elaborate here.
Table 4.6 Steam Generation Monitoring Experience
The lead auditor or a team member has: |  | Comments
4.6.1. Developed or reviewed a facility's documents associated with their steam generation monitoring systems. | yes / no | Briefly elaborate here.
4.6.2. Other relevant "technical knowledge" of steam generation measurements. | yes / no | Briefly elaborate here.
4.6.3. A relevant certification. | yes / no | Please name.
Table 4.7 Familiar With Program Documentation
The lead auditor or a team member has read: |  | Comments
4.7.1. The Emission Trading Regulation and the Air Emission Standard For Electricity Generators. | yes / no
4.7.2. If relevant, the Cogeneration Guide. | yes / no
Table 4.8 Audit Team Members and Designations
Name | Designation

## part 5 verification
5.1 Verification Checklist | [5 empty] | Limitations / Comments
5.1.1. Name of audit standard applied.
5.1.2. The correct baseline is used in the calculation of credits. |  |  |  |  | yes / no
5.1.3. The unit operator has a documented procedure for calculating the emission intensity annually. |  |  |  |  | yes / no
5.1.4. All relevant emission, electricity and thermal flows are represented. |  |  |  |  | yes / no
5.1.5. For cogeneration units, there is a direct measurement or an excepted engineering practice to estimate enthalpies. |  |  |  |  | yes / no
5.1.6. The calculation methodology is consistent with other units on site. |  |  |  |  | yes / no
5.1.7. Calculation methodology is consistent with the unit's baseline application, the Regulation, and the Standard.* |  |  |  |  | yes / no
5.1.8. The boundaries of the unit are clearly identified. |  |  |  |  | yes / no
5.1.9. The unit operator has identified potential sources of error in their procedure to calculate and monitor emissions intensities. |  |  |  |  | yes / no
5.1.10. The unit operator has a strategy and identifies actions to mitigate potential errors in data and calculations. |  |  |  |  | yes / no
5.1.11. The unit operator has a log of corrective actions to improve the emission-intensity monitoring system. |  |  |  |  | yes / no
5.1.12. The unit operator has assigned an individual or position responsible for the annual calculation of the intensity. |  |  |  |  | yes / no
5.1.13. The unit operator's designated person or position is knowledgeable regarding the calculation. |  |  |  |  | yes / no
5.1.14. The unit operator has a documented internal review and approval process for applications. |  |  |  |  | yes / no
5.1.15. The unit operator has established a record retention system for the intensity calculation. |  |  |  |  | yes / no
5.1.16. For each value calculated using data in this application, the underlying formula is shown in the appropriate cell. |  |  |  |  | yes / no
5.1.17. The third party auditor replicated the applicant's calculations. |  |  |  |  | yes / no
5.1.18. It is possible to calculate a confidence interval for the final intensity calculation. |  |  |  |  | yes / no
5.1.19. If the spreadsheet was modified, the logic of the calculations can be traced. |  |  |  |  | yes / no
5.1.20. The applicant provided all the information requested in this form. |  |  |  |  | yes / no
5.1.21. This verification of this baseline application was peer reviewed. |  |  |  |  | yes / no | Provide name of reviewer as well as their affiliation and a relevant professional designation or certification.
* Emissions Trading Regulation (AR 33 / 2006) and Air Emission Standard For Electricity Generators (2005), both as amended.
5.2 Verification Of A One-Month Sample Of Electricity Data
Sampled Month and Year | AESO Asset Identifier | Value In Application (MWh) | Value In AESO Database (MWh) | % Diff
|  | 0 | 1 | -100%
5.3 Verification Of A One-Month Emissions Data
Sampled Month and Year | Substance | Unadjusted Emissions from Application (kg) | Applicant Submission to Alberta Environment Under CEMS Code (kg) | % Diff
| NOx | 0 | 1 | -100%
| SO2 | 0 | 1 | -100%
5.4 Verification Statement Of The Third Party Auditor (limited assurance)
The Third Party Auditor provides an limited assurance statement regarding the assertion in 5.0.
This assurance statement should include the following statement: "The lead auditor identified in Part 4 of this form, completed parts 4 and 5 of this form."
5.0 Unit Operator's Assertion
The assertion to be verified is shown in "part 1.a baseline credits", "Table 1.a.2." or "part 1.b non-baseline credits", "Table 1.b.2."
The objective of this verification is to make a limited assurance statement regarding the above assertion. This worksheet is the documentation of the third party auditor's mandatory verification checks for Section 41 of the Emissions Trading Regulation. The third party auditor might undertake other verification activities to satisfy the requirements of their profession, certification, or chosen audit standard.
October, 2010 - Note Regarding Verification Checklist
The following credit application verification checklist is new. This application form and this verification checklist may be modified by Alberta Environment from year to year and so the unit operator and the third party auditor should check the Registry website for the most current version of the form prior to making an application.
This verification check list is very similar to the verification checklist in the new 2010 Baseline Application. The statements in blue are modified from the 2010 Baseline Application verification list.
These checks are not redundant to previous verification undertaken for the unit because third party auditors who verified established baselines may or may not have undertaken these checks when reviewing the original applications.